SECTION 03 35 16

MasterTop® 200 (Formerly Masterplate 200)

Notes to specifiers:

The Construction Systems business of BASF Corporation previously conducted business as Degussa, Inc. Building Systems.  The Admixture Systems business of BASF Corporation previously conducted business as Degussa Admixtures, Inc. and Master Builders, Inc.

On January 1, 2014 BASF launched the Master Builders Solutions brand in North America. With Master Builders Solutions, BASF combined its existing construction brands such as Master Builders, Chemrex, Sonneborn, MBT and others that have established a legacy of innovation, to create one unparalleled, globally recognized brand for its solutions to the construction industry.

This new BASF harmonized naming system, presents simpler, more logical and easier to understand product names. Each new name reflects an application property or function.

Please update your Master Specifications to reflect the product name changes. The old product names are provided in parentheses following the new names in this Section for reference.

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of BASF Construction Chemicals products.  this guide document has been prepared to be part of a complete project manual.  it is not intended to be a “stand alone” document, and it is not intended to be copied directly into a project manual.

This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

- GENERAL

      - SUMMARY

        - Section Includes:

          - Application of ready-to-use, colored, cementitious, metallic-aggregate, dry-shake, surface hardener.

Delete sections below not relevant to this project; add others as required.

        - Related Sections:

          - Section 03 30 00 – Cast-in-Place Concrete.

      - SUBMITTALS

        - Comply with Section [01 33 00] [ __ __ __ ].

        - Product Data:  Submit manufacturer's technical data sheets and LEED product information for each product.

        - Submit list of project references as documented in this Specification under Quality Assurance Article.  Include contact name and phone number of person charged with oversight of each project.

        - Quality Control Submittals:

          - Provide protection plan of surrounding areas and non-cementitious surfaces.

      - QUALITY ASSURANCE

        - Comply with Section [01 40 00] [ __ __ __ ].

        - Qualifications:

          - Manufacturer Qualifications:  Company with minimum 15 years of experience in manufacturing of specified products.

          - Manufacturer Qualifications:  Company shall be ISO 9001:2000 Certified.

          - Applicator Qualifications:  Company with minimum of 5 years experience in application of similar products on projects of similar size and scope, and is acceptable to product manufacturer.

            - Successful completion of a minimum of 3 projects of similar size and complexity to specified Work.

        - Field Sample:

          - Install at Project site or pre-selected area of building an area for field sample, minimum 10 feet by 10 feet (3 m by 3 m), using specified surface hardener.

          - Install with methods and equipment that will be used during slab construction.

          - Apply material in accordance with manufacturer’s written application instructions.

          - Manufacturer’s representative or designated representative will review technical aspects; surface preparation, and workmanship.

          - Field sample will be standard for judging workmanship on remainder of Project.

          - Maintain field sample during construction for workmanship comparison.

          - Do not alter, move, or destroy field sample until Work is completed and approved by Architect.

          - Obtain Architect’s written approval of field sample before start of material application, including approval of aesthetics, color, texture, and appearance.

Delete below if work of this Section is not extensive or complex enough to justify a pre-installation conference.  If retaining, coordinate with Division 1.

        - Pre-Installation Meetings:  Conduct meeting at Project site to comply with requirements in Section 01 31 00 – Project Management and Coordination.

          - Schedule and convene meeting a minimum of 1 week before starting Work of this Section.

          - Review subbase conditions, concrete mix design, weather, surface preparation, application, troweling, curing, joints, and protection.

          - Discuss procedures for protecting adjacent finished Work.

          - Provide manufacturers representative with 10 days written notice of pre-installation meeting.

      - DELIVERY, STORAGE, AND HANDLING

        - Comply with Section [01 60 00] [ __ __ __ ].

        - Comply with manufacturer’s ordering instructions and lead-time requirements to avoid construction delays.

        - Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

        - Store materials in unopened packaging in clean, dry area protected from sunlight at 50 to 90 degrees F (10 to 32 degrees C).

      - PROJECT CONDITIONS

        - Environmental Requirements:

          - Do not apply over concrete containing calcium chloride or concrete containing aggregate that has been saturated with salt water.

          - Do not apply over concrete containing more than 3 percent air content as measured by ASTM C138, ASTM C173, or ASTM C231.

          - Perform Work of this Section in well-ventilated areas.

- PRODUCTS

      - MANUFACTURERs

        - Subject to compliance with requirements, provide products from the following manufacturer:

BASF Corporation

Construction Chemicals

889 Valley Park Drive

Shakopee, MN  55379

Customer Service:  800- 433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Internet: www.master-builders-solutions.basf.us

        - Substitutions:  Comply with Section [01 60 00] [ __ __ __ ].

        - Specifications and Drawings are based on manufacturer's proprietary literature from BASF.  Other manufacturers shall comply with minimum levels of material, color selection, and detailing indicated in Specifications or on Drawings.  Architect will be sole judge of appropriateness of substitutions.

      - MATERIALS

        - Ready-to-use, colored, cementitious, metallic-aggregate, dry-shake, surface hardener to add color and improve wear and impact resistance of concrete floors when evenly distributed and finished over freshly leveled and floated concrete.

          - Acceptable Product:  MasterTop 200 (Formerly Masterplate 200) by BASF.

          - VOC Content:  0 lbs per gal (0 g/L).

surface hardener is available in the following colors.  delete colors not required for the project.  refer to basf construction chemicals floor products standard color card.

        - Colors:

          - Envy.

          - Lagoon.

          - Leather.

          - Light Reflective.

          - Mist.

          - Moondust.

          - Natural.

          - Stonewall.

          - Tomahawk.

          - Wheat.

      - Accessories

        - Joint Sealants:  Specified in Section 07920.

- EXECUTION

      - EXAMINATION

        - Comply with Section [01 70 00] [__ __ __].

      - Surface Preparation

        - Protection:  Protect adjacent Work areas and finish surfaces from damage during surface hardener application.

        - Prepare concrete surface in accordance with manufacturer’s instructions.

edit note:  for suspended-slab conditions, consult the local BASF construction chemicals representative for special information.

        - Convey base concrete at maximum slump of 5 inches (127 mm) for slab on grade.

        - After concrete has been placed, immediately screed, then bull float or highway straightedge surface.

        - Do not apply surface hardener into bleed water.  If excessive bleed water is present, remove standing water.

      - Application

        - Apply surface hardener in accordance with manufacturer’s instructions.

        - If more than 1.0 pound per square foot (4.9 kg/m2) of total surface hardener will be applied, apply material in 2 or more applications.  Apply and integrate 1/2 to 2/3 of total amount of surface hardener on first application, and apply remaining portion on subsequent applications.  Do not apply more than 1.0 pound per square foot (4.9 kg/m2) in 1 pass.  Use automatic spreader for first application of surface hardener.

Wooden bull floats are preferable because they tend to open the slab rather than close it off, possibly trapping water under surface hardener layer.  highway straightedges are acceptable.

        - Allow first application to absorb moisture from slab, then reprofile surface of slab with 8 to 10-foot (2,440 to 3,050-mm) wooden bull float or modified highway straightedge perpendicular to direction of screeding.  To maintain flatness, avoid shaking bullfloat handle.

        - When slab can support weight of finisher without leaving more than 1/8 to 1/4-inch (3 to 6-mm) depression, float surface with floating machine equipped with clip-on float blades.  Hand-float edges with wood floats or darbies.  Reprofile in both directions using modified highway straightedge to achieve specified flatness.

        - Without delay, evenly apply remaining portion of surface hardener.  Float surface again with clip-on float shoes.  Reprofile if needed.  If desired, pan float, followed by finish troweling.  Do not use pan floats to incorporate dry surface hardener into base concrete; however, pan floats may be used for final floating to achieve flatter floors.  Hand-float edges with wood or hand floats or darbies.  Do not use magnesium floats.

      - Troweling

        - When appropriate conduct 2 to 3 mechanical trowelings.  Leave prepared slab untouched until surface has lost its sheen and can support weight of finisher and finishing machine.  Conduct first troweling of surface.

        - On first application, keep trowel blades as flat as possible without digging into surface.

        - As surface tightens further, gradually raise trowel blades to produce desired surface.  Remove marks and pinholes in final, slightly raised trowel application.  Do not burnish colored surface hardened floors.  Use hand trowel final finish for most uniform appearance.

        - Only use moisture from within slab to incorporate surface hardener.  Do not apply water to aid in incorporation of surface hardener.  Under severe or rapid drying conditions, spray-apply evaporation reducer or other material approved by surface hardener manufacturer.

        - If blistering occurs during finishing operation, flatten trowel blades immediately.  Refloat to open floor and rework blistered areas with hand floats.  Delay raised troweling until no blisters occur.

      - Curing

        - Cure surface in accordance with manufacturer’s instructions.

        - At completion of final troweling and when surface will not be marred, apply membrane curing compound approved by surface hardener manufacturer.

        - Maintain ambient temperature at 50 degrees F (10 degrees C) or above during curing period.

        - Do not water or moist cure, or cure with polyethylene.

      - Joints

OPTION 1:  SEMI-RIGID EPOXY JOINT FILLER.  If this option is selected, delete option 2 below.

        - After a minimum of 90 days, apply semi-rigid epoxy joint filler in non-dynamic control and saw-cut construction joints.  Place joint filler in accordance with joint filler manufacturer’s instructions.

        - If joint filling is sooner than 90 days after slab placement, contact joint filler manufacturer for recommendations and precautions.

OPTION 2: IRON-ARMORED JOINTS.  If this option is selected, delete option 1 above.

        - Remove concrete at joints while concrete is still fresh.  Remove concrete to a depth of 1/2 inch (13 mm) at joint line and taper it back to surface level over a width of 4 inches (102 mm).

        - Mix surface hardener with enough water to produce stiff mortar.  Hand float area where concrete has been removed, working up sufficient paste at surface to ensure integral bond with concrete.

        - Immediately place surface hardener mortar into prepared joint, then rescreed area to level.  Use 4.50 pounds (2.0 kg) per linear foot, which is 2.25 pounds (1.0 kg) per foot for each side of joint.

      - PROTECTION

        - After drying, protect hardened surface by covering with scuff-proof, nonstaining, builder paper.

        - Keep floors covered and free of traffic and loads for a minimum of 10 days after completion.

        - Protect completed concrete surface from damage and staining during construction.

END OF SECTION

Disclaimer

This information and all further technical advice are based on BASF’s present knowledge and experience. However, BASF assumes no liability for providing such information and advice including the extent to which such information and advice may relate to existing third party intellectual property rights, especially patent rights. In particular, BASF disclaims all CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. BASF SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. BASF reserves the right to make any changes according to technological progress or further developments. It is the customer’s responsibility and obligation to carefully inspect and test any incoming goods. Performance of the product(s) described herein should be verified by testing and carried out only by qualified experts. It is the sole responsibility of the customer to carry out and arrange for any such testing. Reference to trade names used by other companies is neither a recommendation, nor an endorsement of any product and does not imply that similar products could not be used.