SECTION Guide Spec

MasterEmaco® S 440MC Repair Mortar (Formerly LA Repair Mortar)

Notes to specifiers:

The Construction Systems business of BASF Corporation previously conducted business as Degussa, Inc. Building Systems.  The Admixture Systems business of BASF Corporation previously conducted business as Degussa Admixtures, Inc. and Master Builders, Inc.

On January 1, 2014 BASF launched the Master Builders Solutions brand in North America. With Master Builders Solutions, BASF combined its existing construction brands such as Master Builders, Chemrex, Sonneborn, MBT and others that have established a legacy of innovation, to create one unparalleled, globally recognized brand for its solutions to the construction industry.

This new BASF harmonized naming system, presents simpler, more logical and easier to understand product names. Each new name reflects an application property or function.

Please update your Master Specifications to reflect the product name changes. The old product names are provided in parentheses following the new names in this Section for reference.

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of BASF building systems products.  this guide document has been prepared to be part of a complete project manual.  it is not intended to be a “stand alone” document, and it is not intended to be copied directly into a project manual.

This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

- GENERAL

      - SUMMARY

        - Section Includes:

          - Application of 1-component, shrinkage-compensated, micro concrete suitable for large-volume structural repairs from 3/4 inch (19 mm) to full depth.

Delete sections below not relevant to this project; add others as required.

        - Related Sections:

          - Section 03 30 00 – Cast-in-Place Concrete.

          - Section 03 41 00 – Precast Structural Concrete.

      - SUBMITTALS

        - Comply with Section [01 33 00] [ __ __ __ ].

        - Product Data:  Submit manufacturer's technical data sheets and LEED product information for each product.

        - Submit list of project references as documented in this Specification under Quality Assurance Article.  Include contact name and phone number of person charged with oversight of each project.

        - Quality Control Submittals:

          - Provide protection plan of surrounding areas and non-cementitious surfaces.

      - QUALITY ASSURANCE

        - Comply with Section [01 40 00] [ __ __ __ ].

        - Qualifications:

          - Manufacturer Qualifications:  Company with minimum 15 years of experience in manufacturing of specified products.

          - Manufacturer Qualifications:  Company shall be ISO 9001:2000 Certified.

          - Applicator Qualifications:  Company with minimum of 5 years experience in application of specified products on projects of similar size and scope, and is acceptable to product manufacturer.

            - Successful completion of a minimum of 5 projects of similar size and complexity to specified Work.

        - Field Sample:

          - Install at Project site or pre-selected area of building an area for field sample, as directed by Architect.

          - Apply material in accordance with manufacturer’s written application instructions.

          - Manufacturer’s representative or designated representative will review technical aspects; surface preparation, repair, and workmanship.

          - Field sample will be standard for judging workmanship on remainder of Project.

          - Maintain field sample during construction for workmanship comparison.

          - Do not alter, move, or destroy field sample until Work is completed and approved by Architect.

          - Obtain Architect’s written approval of field sample before start of material application, including approval of aesthetics, color, texture, and appearance.

      - DELIVERY, STORAGE, AND HANDLING

        - Comply with Section [01 60 00] [ __ __ __ ].

        - Comply with manufacturer’s ordering instructions and lead-time requirements to avoid construction delays.

        - Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

        - Store tightly sealed materials off ground and away from moisture, direct sunlight, extreme heat, and freezing temperatures.

      - PROJECT CONDITIONS

        - Environmental Requirements:

          - Ensure that substrate surface and ambient air temperature are minimum of 40 degrees F (4 degrees C) and rising at application time and remain above 40 degrees F (4 degrees C) for at least 24 hours after application.  Ensure that frost or frozen surfaces are thawed and dry.

          - Do not apply material if snow, rain, fog, and mist are anticipated within 12 hours after application.  Allow surfaces to attain temperature and conditions specified before proceeding with application.

- PRODUCTS

      - MANUFACTURERs

        - Subject to compliance with requirements, provide products from the following manufacturer:

BASF Corporation

Construction Chemicals

889 Valley Park Drive

Shakopee, MN  55379

Customer Service:  800- 433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Internet: www.master-builders-solutions.BASF.us

        - Substitutions:  Comply with Section [01 60 00] [ __ __ __ ].

        - Specifications and Drawings are based on manufacturer's proprietary literature from BASF.  Other manufacturers shall comply with minimum levels of material and detailing indicated in Specifications or on Drawings.  Architect will be sole judge of appropriateness of substitutions.

      - MATERIALS

        - One-component, shrinkage-compensated, micro concrete consisting of cement, graded aggregate, shrinkage-compensating agents, and additives.

          - Acceptable Product:  MasterEmaco S 440MC (formerly LA Repair Mortar) by BASF.

        - Performance Requirements:  Provide repair mortar complying with the following requirements:

          - Fresh Wet Density, ASTM C138:

            - 142 pounds per cubic foot (2,275 kg/m3).

          - Compressive Strength, ASTM C109, 2-inch (51-mm) cubes:

            - 1 Day:  2,500 psi (17.2 MPa).

            - 7 Days:  6,000 psi (41.4 MPa).

            - 28 Days:  7,500 psi (51.7 MPa).

          - Compressive Strength, ASTM C39, 3-inch by 6-inch (76-mm by 152-mm) cylinders:

            - 28 Days:  6,700 psi (46.2 MPa).

          - Flexural Strength, ASTM C78:

            - 1 Day:  665 psi (4.6 MPa).

            - 7 Days:  1,055 (7.3 MPa).

          - Slant Sheer Bond Strength, ASTM C 882:

            - 1 Day:  750 psi (5.2 MPa).

            - 7 Days:  1,500 psi (10.3 MPa).

            - 28 days:  2,300 psi (15.9 MPa).

          - Drying Shrinkage, Coutinho-Ring, air cured at 73 degrees F (23 degrees C), 50 percent relative humidity:

            - 7 Days:  No cracks.

            - 28 Days:  No cracks.

          - Drying Shrinkage, ASTM C157, Unmodified, 1-inch (25-mm) prisms:

            - 28 Days:  350 µstrain.

          - Drying Shrinkage, ASTM C157, Modified, 3-inch (76-mm) prisms, air cured at 73 degrees F (23 degrees C), 50 percent relative humidity:

            - 7 Days:  210 µstrain.

            - 28 Days:  480 µstrain.

          - Coefficient of Thermal Expansion, CRD C39:

            - 5.5 x 10-6 in/in/degree F (9.9 x 10-6 cm/cm/degree C).

          - Freeze/Thaw Resistance, ASTM C666, 300 cycles:  96 percent relative dynamic modulus.

          - Tensile Strength, ASTM C190:

            - 28 Days:  850 psi (5.9 MPa).

          - Splitting Tensile Strength, ASTM C496:

            - 28 Days:  600 psi (4.1 MPa).

          - Elastic Modulus, ASTM C469:

            - 4.2 x 106 psi (29.0 GPa).

          - Set Time, ASTM C191, 70 degrees F (21 degrees C), 50 relative humidity:

            - Initial:  6.5 hours.

            - Final:  9 hours.

          - Rapid Chloride Permeability, ASTM C1202:

            - 990 Coulombs.

          - VOC Content:

            - 0 lbs per gal (0 g/L), less water and exempt solvents.

- eXECUTION

      - EXAMINATION

        - Comply with Section [01 70 00] [ __ __ __ ].

      - SURFACE PREPARATION

        - Protection:  Protect adjacent Work areas and finish surfaces from damage during repair mortar application.

        - Prepare surfaces in accordance with manufacturer’s instructions.

        - Concrete:

          - Ensure area being repaired is structurally sound and fully cured.

          - Perimeter cut edges of repair to depth of at least 3/8 inch (9 mm) to avoid featheredging and to provide square edge.

          - Break out concrete to sawn edge and across entire repair area.

          - Mechanically abrade and clean surface to remove dust, unsound or contaminated material, oil, paint, grease, or corrosion deposits.  Do not use method of surface preparation that could damage concrete.

          - Where breaking out is not required, roughen surface and remove laitance by light scabbling or abrasive blasting.  Remove oil and grease deposits by steam cleaning, detergent scrubbing, or degreasing.  To ensure optimum results, test effectiveness of decontamination with pull-off test.

        - Reinforcing Steel:

          - Remove oxidation and scale from exposed reinforcing steel per ICRI Technical Guideline No. 03730 “Guide to Surface Preparation for the Repair of Deteriorated Concrete Resulting from Reinforcing Steel Corrosion.”

          - To prevent future steel corrosion, coat prepared reinforcing steel with MasterProtect P 8100 AP (formerly Zincrich Rebar Primer.)

      - mixing

        - Mix materials in accordance with manufacturer’s instructions.

        - Ensure repair mortar is thoroughly mixed.

      - application

        - Apply repair mortar in accordance with manufacturer’s instructions.

        - Keep unrestrained surface area of repair to a minimum.

        - Provide formwork that allows for minimum of 3/4 inch (19 mm) cover around steel.  Ensure formwork is rigid and water tight to prevent loss of material.  Properly seal faces of forms to ensure surfaces absorb no water from repair material.

        - Provide drainage outlets in formwork for presoaking and, if beneath a soffit, provide air venting. Provide suitable access points to pour or pump mixed repair mortar into place.

        - Use suitable form-release agent to facilitate removal of forms from cast material.

        - Several hours before placing repair mortar, saturate prepared concrete substrate by filling prepared formwork with clean water.

        - Immediately before placement of repair mortar, completely drain water and seal drainage outlets, leaving substrate saturated surface-dry (SSD) with no ponded water remaining.

        - In conditions where formwork cannot be filled with water, thoroughly hose down concrete substrates with clean water to achieve equal level of saturated surface-dry (SSD) immediately before placement of repair mortar.

        - Immediately after mixing, pump or pour repair mortar into formed area.

      - Curing

        - Cure repair mortar in accordance with manufacturer’s instructions.

        - Leave formwork in place until repair mortar reaches compressive strength of 2,500 psi (17.2 MPa) or strength specified by the Engineer.

        - Allow proper curing of repair mortar in accordance with ACI 308 “Standard Practice for Curing Concrete.”

        - If repaired area will receive coating, wet-cure repair surface.

        - In cold conditions, protect finished repair from freezing.

      - PROTECTION

        - Protect repair mortar from damage during construction.

END OF SECTION

Disclaimer

This information and all further technical advice are based on BASF’s present knowledge and experience. However, BASF assumes no liability for providing such information and advice including the extent to which such information and advice may relate to existing third party intellectual property rights, especially patent rights. In particular, BASF disclaims all CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. BASF SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. BASF reserves the right to make any changes according to technological progress or further developments. It is the customer’s responsibility and obligation to carefully inspect and test any incoming goods. Performance of the product(s) described herein should be verified by testing and carried out only by qualified experts. It is the sole responsibility of the customer to carry out and arrange for any such testing. Reference to trade names used by other companies is neither a recommendation, nor an endorsement of any product and does not imply that similar products could not be used.