SECTION Guide Spec

VEHICULAR TRAFFIC COATINGS (MasterSeal® 1500)

Note to specifiers:

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of BASF CORPORATION products.  it is not intended to be a “stand alone” document, nor to be copied directly into a project manual.  This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

- GENERAL

      - SUMMARY

        - Section Includes:

edit note:  Delete application not required.

          - Waterproofing and vehicular traffic coating for interior and exterior elevated slabs.

edit note:  Delete sections below not relevant to this project; add others as required.

        - Related Sections:

          - Section 03 30 00 - Cast-in-Place Concrete.

      - SUBMITTALS

        - Comply with Section [01 33 00] [ __ __ __ ].

        - Product Data:  Submit manufacturer's technical data sheets and LEED product information for each product.

        - Submit list of project references as documented in this section under Quality Assurance article.  Include contact name and phone number of person charged with oversight of each project.

        - Quality Control Submittals:  Provide protection plan of surrounding areas and non-work surfaces.

      - QUALITY ASSURANCE

        - Comply with Section [01 40 00] [ __ __ __ ].

        - Qualifications:

          - Manufacturer Qualifications:

            - Company with minimum of 15 years experience in manufacturing of specified products and systems.

            - ISO 9001:2000 Certified.

          - Applicator Qualifications:  Company with minimum of 5 years experience in application of specified products and systems on projects of similar size and scope, and is acceptable to product manufacturer.

            - Successful completion of a minimum of 5 projects of similar size and complexity to specified Work.

        - Field Sample:

          - Install at Project site or pre-selected area of building an area for field sample, as directed by Architect.

            - Provide mock-up of at least 100 square feet (9.3 m2) to include surface profile, sealant joint, crack, flashing, and juncture details and allow for evaluation of slip resistance and appearance.

            - Apply material in accordance with manufacturer’s written application instructions.

          - Manufacturer’s representative or designated representative shall review technical aspects, surface preparation, application, and workmanship.

          - Field sample shall be standard for judging workmanship on remainder of Project.

          - Maintain field sample during construction for workmanship comparison.

          - Do not alter, move, or destroy field sample until Work is completed and approved by Architect.

          - Obtain Architect’s written approval of field sample before start of material application, including approval of aesthetics, color, texture, and appearance.

      - DELIVERY, STORAGE, AND HANDLING

        - Comply with Section [01 60 00] [ __ __ __ ].

        - Comply with manufacturer’s ordering instructions and lead-time requirements to avoid construction delays.

        - Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

        - Store materials in unopened packaging in clean, dry area protected from sunlight.

      - PROJECT CONDITIONS

        - Environmental Requirements:

          - Do not apply when substrates are over 110 degrees F (32 degrees C) or under 40 degrees F (4 degrees C).

          - Do not apply in rain or when rain is expected within 24 hours.

- PRODUCTS

      - MANUFACTURERs

        - Subject to compliance with requirements, provide products from the following manufacturer:

          - BASF Corporation

889 Valley Park Drive

Shakopee, MN 55379

Customer Service:  800-433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Internet:  www.buildingsystems.basf.com

        - Substitutions:  Comply with Section [01 60 00] [ __ __ __ ].

        - Specifications and Drawings are based on manufacturer's proprietary literature from BASF Corporation.  Other manufacturers shall comply with minimum levels of material, color selection, and detailing indicated in Specifications or on Drawings.  Architect will be sole judge of appropriateness of substitutions.

      - MATERIALS

        - Fluid-applied, moisture-curing, polyurethane, waterproofing, traffic-bearing, membrane deck coating system.

        - Acceptable Products:

edit note:  For projects requiring primer, 2 choices are available.  Delete primer if not required.

          - Primer:  MasterSeal P 222.  One-component, solvent-based primer and sealer.

          - Primer:  MasterSeal P 220.  Two-component, waterborne, epoxy primer and sealer.

          - Base Coat:  MasterSeal M 200.  One-component, moisture-curing polyurethane.

edit note:  delete top coa t not required.

          - Top Coat:  MasterSeal TC 225.  One-component, aliphatic, moisture-curing polyurethane.

          - Top Coat Tint Base:  MasterSeal TC 225 TB.  One-component, aliphatic, moisture-curing polyurethane consisting of 40 standard colors.

          - Aggregate:  MasterSeal 941.

          - Cementitious and Epoxy Patching Materials:  BASF Corporation repair mortar and epoxies.

          - Sealant Primer:  MasterSeal P 173.

          - Sealant:  MasterSeal SL2 or MasterSeal CR 195.

          - Deep Joint Sealant:  MasterSeal SL2 or MasterSeal NP2.

          - Plywood Joint Sealant:  MasterSeal NP1 or MasterSeal NP2.

          - Reinforcing Fabric:  MasterSeal 995.

          - Clean-up:  MasterSeal 990.

        - Compliances:

          - UL 790, Class A fire rating.

          - ASTM C 957.

          - ASTM E 108.

          - ASTM E 84.

        - Properties:

          - Weight per Gallon, ASTM D 1475:

            - Base Coat:  9.9 lbs (4.5 kg).

            - Top Coat:  9.1 lbs (4.1 kg).

          - Specific Gravity:

            - Base Coat:  1.19 kg/L.

            - Top Coat:  1.09 kg/L.

          - Solids Content, ASTM D 1259:

            - Base Coat, By Weight:  84 percent.

            - Base Coat, By Volume:  81 percent.

            - Top Coat, By Weight:  77 percent.

            - Top Coat, By Volume:  75 percent.

          - Viscosity, ASTM D 2393:

            - Base Coat:  4,000 to 9,000 cps.

            - Top Coat:  2,000 to 4,000 cps.

          - Flash Point, ASTM D 56:

            - Base Coat:  104 degrees F (40 degrees C).

            - Top Coat:  105 degrees F (40.5 degrees C).

          - VOC Content:

            - Base Coat, Self-Leveling Grade:  1.63 lbs per gal (196 g/L), less water and exempt solvents.

            - Base Coat, Flash/Slope Grade:  1.7 lbs per gal (203.3 g/L), less water and exempt solvents.

            - Top Coat:  1.75 lbs per gal (209 g/L), less water and exempt solvents.

        - Properties of Cured Membranes:

          - Hardness, Shore A, ASTM D 2240.

            - Base Coat:  60.

            - Top Coat:  89.

          - Tensile Strength, ASTM D 412:

            - Base Coat:  752 psi (5.2 MPa).

            - Top Coat:  2,500 psi (17.2 MPa).

          - Elongation, ASTM D 412:

            - Base Coat:  595 percent.

            - Top Coat:  502 percent.

          - Tear Strength, ASTM D 1004:

            - Base Coat:  74 PIT.

            - Top Coat:  199 PIT.

          - Weight Loss, Maximum 40:

            - Base Coat:  16 percent.

            - Top Coat:  17 percent.

          - Low Temperature Flexibility and Crack Bridging:

            - Base Coat:  No cracking.

            - Top Coat:  No cracking.

          - Adhesion in Peel After Water Immersion:

            - Base Coat, Primed Mortar:  43 pli.

            - Base Coat, Plywood:  34 pli.

          - Pull-Out Adhesion, ASTM D 4541:

            - Base Coat:  275 psi.

        - Chemical Resistance Tensile Retention, ASTM C 957:

          - Ethylene Glycol, Minimum 70:

            - Base Coat:  88.

            - Top Coat:  92.

          - Mineral Spirits, Minimum 45:

            - Base Coat:  47.

            - Top Coat:  60.

          - Water, Minimum 70:

            - Base Coat:  96.

            - Top Coat:  83.

        - Coating System Weathering Resistance and Elongation Recovery, ASTM C 957:

          - Elongation Recovery, Minimum 90 Percent:  94 percent.

          - Tensile Retention, Minimum 80 Percent:  151 percent.

          - Elongation Retention, Minimum 90 Percent:  94 percent.

          - Abrasion Resistance, (CS-17 Wheel, 1,000 g load, 1,000 cycles), Maximum 50 mg lost:  1 mg lost.

          - Crack Bridging (1,000 cycles):  System passes.

        - Color:

edit note:  delete colors not required.

          - Gray.

          - Charcoal Gray.

          - Tan.

- eXECUTION

      - EXAMINATION

        - Comply with Section [01 70 00] [_______].

      - SURFACE PREPARATION

        - Prepare substrates in accordance with manufacturer’s instructions.

        - Substrates:  Sound and free of dust, dirt, laitance, paints, oils, grease, curing compounds, or other contaminants.

edit note:  delete if concrete substrate not present.

        - Verify substrate has properly cured.  Mechanically remove efflorescence before proceeding.  For extreme cases where this is not adequate, contact manufacturer.

        - Concrete:

          - Minimum Compressive Strength:  3,000 psi (21 MPa).

          - Cure for a minimum of 28 days or 80 percent of design strength.

        - Mechanically prepare substrate to remove previous coatings, laitance, and miscellaneous surface contamination.  Provide surface profile to achieve specified adhesion equal to International Concrete Repair Institute surface profile CSP 3.

          - Roughen or brush blast extremely smooth surfaces to ensure good mechanical adhesion.

          - Patch holes and cracks before installation.

        - Repair voids and delaminated areas with cementitious and epoxy patching materials.

      - mixing

        - Mix materials in accordance with manufacturer’s instructions.

      - application – GENERAL

        - Apply materials in accordance with manufacturer’s instructions.

        - Do not apply materials to damp, wet, or contaminated substrates.

        - Surface Prestriping and Detailing:

          - Prestripe with primer 1 inch (25 mm) beyond surfaces that require detail work.

          - For nonmoving joints and cracks less than 1/16 inch (1.6 mm) wide, apply 25 wet mils (0.6 mm) prestriping of base coat over cured primer.  Apply base coat to fill and overlap joint or crack 3 inches (76 mm) on each side.  Feather the edges.

          - Dynamic cracks and joints over 1/16 inch (1.6 mm) wide shall be routed to a minimum of 1/4 inch by 1/4 inch (6 mm by 6 mm) and cleaned.  Install bond breaker tape to prevent adhesion to bottom of joint.  Prime joint faces only with sealant primer and fill with sealant.  Fill joints deeper than 1/4 inch (6 mm) with backer rod and deep joint sealant.  For cracks, sealant shall be flush with adjacent surface.  For expansion joints, sealant shall be slightly concave.

          - Sealed joints 1 inch (25 mm) or less shall be coated over with deck coating system.

          - Expansion joints exceeding 1 inch (25 mm) wide, including primary wide expansion-joint system, shall not be coated.

          - Where coating system will be terminated and no wall, joint, or other break exists, cut 1/4 inch by 1/4 inch (6 mm by 6 mm) keyway into concrete.  Fill and coat keyway as application of base coat progresses.

edit note:  delete if metal substrate not present.

        - Metal Surfaces:

          - Remove dust, debris, and other contaminants from vent, drain pipe, and post penetrations; reglets; and other metal surfaces.  Clean surfaces to bright metal and prime with sealant primer.  Provide cant with deep joint sealant to eliminate 90-degree angles.

          - Detail cant with primer and base coat in accordance with manufacturer’s instructions before application of deck coating system.

edit note:  delete if plywood substrate not present.

        - Plywood Surfaces:

          - Plywood shall be smooth faced, APA stamped, and exterior grade.  Construction shall conform to code, with plywood not less than 15/32 inch (12 mm) thick.  Plywood spacing and deck construction shall be in accordance with APA guidelines.

          - Priming is not required if plywood is clean and dry.

          - Caulk seams with plywood joint sealants.  Prestripe 4 to 6 inches (102 to 152 mm) wide with 25 wet mils (0.6 mm) of base coat.  Reinforce seams between plywood sheets and between flashing and plywood deck by embedding reinforcing fabric into prestriping.

edit note:  delete if primer not required.

        - Priming:

          - After thoroughly vacuuming surface, apply primer to properly prepared deck surfaces at rate of 200 to 250 square feet per gallon (4.9 to 6.1 m2/L).  Force primer into pores and voids to eliminate pinholes.  Do not apply over prestriping.

          - Allow primer to dry tack free.  Apply base coat same working day.

edit note:  MasterSeal 1500 can be applied using several methods, depending upon the degree of traffic to which the system is exposed.  In areas of extreme traffic (turning lanes, pay booths, entrances, and exits), apply the Extra-Heavy-Duty Traffic System.  The following summary briefly describes each method.  All coverage rates are approximate.  delete system not required.  identify application when several systems selected.

      - LIGHT- TO MEDIUM-DUTY TRAFFIC and pedestrian SYSTEM

        - Apply 25 wet mils (0.6 mm) of base coat.  Immediately backroll to level base coat.  Allow to cure overnight.

        - Apply 25 wet mils (0.6 mm) of top coat.  Immediately backroll to level top coat.

        - While coating is still wet, broadcast aggregate at rate of 10 to 15 pounds per 100 square feet (0.5 to 0.7 kg/m2).  Backroll into coating to fully encapsulate.

      - HEAVY-DUTY TRAFFIC SYSTEM

        - Apply 25 wet mils (0.6 mm) of base coat.  Immediately backroll to level base coat.  Allow to cure overnight.

        - Apply 20 wet mils (0.5 mm) of intermediate top coat.

        - Immediately backroll to level top coat.  While coating is still wet, broadcast aggregate to refusal at approximate rate of 30 to 50 pounds per 100 square feet (1.5 to 2.4 kg/m2).  Allow to cure overnight.

        - Remove loose aggregate.  Apply 20 wet mils (0.5 mm) of top coat.

        - Immediately backroll to level top coat.  Immediately broadcast aggregate at rate of 7 to 10 pounds per 100 square feet (0.34 to 0.49 kg/m2).  Backroll to encapsulate.

      - EXTRA-HEAVY-dUTY TRAFFIC SYSTEM

        - Apply 25 wet mils (0.6 mm) of base coat.  Immediately backroll to level base coat.  Allow to cure overnight.

        - Apply 25 wet mils (0.6 mm) of top coat.

        - Immediately backroll to level top coat.  While coating is still wet, broadcast aggregate to refusal at rate of 50 to 70 pounds per 100 square feet (2.5 to 3.4 kg/m2).  Allow to cure overnight.

        - Remove loose aggregate.  Apply 20 wet mils (0.5 mm) of top coat.

        - Immediately backroll to evenly level top coat.

        - Immediately broadcast aggregate at rate of 7 to 10 pounds per 100 square feet (0.34 to 0.49 kg/m2).  Backroll to encapsulate.

      - PROTECTION

        - Pedestrian Traffic:  Allow minimum curing time of 48 hours before pedestrian use.

        - Vehicular Traffic:  Allow minimum curing time of 72 hours before vehicular use.

        - Extend curing time in cool-weather conditions.

        - Protect system from damage during construction.

END OF SECTION

Disclaimer

This information and all further technical advice are based on BASF’s present knowledge and experience. However, BASF assumes no liability for providing such information and advice including the extent to which such information and advice may relate to existing third party intellectual property rights, especially patent rights. In particular, BASF disclaims all CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. BASF SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. BASF reserves the right to make any changes according to technological progress or further developments. It is the customer’s responsibility and obligation to carefully inspect and test any incoming goods. Performance of the product(s) described herein should be verified by testing and carried out only by qualified experts. It is the sole responsibility of the customer to carry out and arrange for any such testing. Reference to trade names used by other companies is neither a recommendation, nor an endorsement of any product and does not imply that similar products could not be used.